**?.?? PS Heating Water Buffer Vessel**

The Mechanical Contractor shall supply and install a Heating Water Vessel, as supplied by Commercial Hot Water Solutions Ltd (contact Richard Bailey, email: richard@chwsltd.co.uk tel: 07530 230 838) from their PS range, in accordance with the following schedule:-

* Model ref: PS
* Vessel Capacity: 500 litres

The PS Heating Water Vessel shall strictly comprise the following features: high quality steel construction, 100mm soft polyurethane insulation, maximum working temperature of 95 Deg C.